## Results0
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 455 | 0 | 275124 | 0 | 61 | 0 | 24737 | 0 | 20155 | 2044361.31 | 1520728.71

## Results1
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 381 | 0 | 392771 | 0 | 0 | 0 | 35 | 0 | 392806 | 132127.22 | 1364855.65
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1664 | 0 | 672507 | 0 | 434 | 0 | 287567 | 0 | 406048 | 10920968.74 | 10125997.09
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 789 | 0 | 69466 | 0 | 1279 | 0 | 1848846 | 0 | 330834 | 3053161.59 | 5519017.85

## Results2
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
37.6681 | -105.5248 | ground | 2655.35 | 7469.06 | 569169 | StripMall | 0 | 4 | 250 | 0.03 | 0.03 | 241.26 | 452 | 0 | 229792 | 0 | 24 | 0 | 3979 | 0 | 13109 | 2723045.16 | 1669677.72

## Results3
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
36.5447 | -86.2449 | roof | 2354.01 | 6093.24 | 4589077 | Hospital | 357994 | 5 | 300 | 0.07 | 0.09 | 199.73 | 493 | 0 | 45790 | 0 | 79 | 0 | 10166 | 0 | 427451 | 935962.18 | 3188080.67
36.5447 | -86.2449 | roof | 2354.01 | 6093.24 | 4589077 | Hospital | 357994 | 5 | 300 | 0.07 | 0.09 | 199.73 | 858 | 0 | 160485 | 0 | 884 | 0 | 742925 | 0 | 564502 | 18573246.64 | 13636762.06
36.5447 | -86.2449 | roof | 2354.01 | 6093.24 | 4589077 | Hospital | 357994 | 5 | 300 | 0.07 | 0.09 | 199.73 | 3580 | 0 | 2008991 | 0 | 1161 | 0 | 1118337 | 0 | 72684 | 11817209.46 | 12915501.29

## Results4
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
36.5447 | -86.2449 | roof | 3858.28 | 6461.39 | 4156441 | Warehouse | 206562 | 5 | 300 | 0.03 | 0.04 | 121.16 | 1299 | 0 | 427261 | 0 | 866 | 0 | 700469 | 0 | 1127730 | 8434103.82 | 11095343.1
36.5447 | -86.2449 | roof | 3858.28 | 6461.39 | 4156441 | Warehouse | 206562 | 5 | 300 | 0.03 | 0.04 | 121.16 | 489 | 0 | 270061 | 0 | 262 | 0 | 204367 | 0 | 25229 | 959167.21 | 3053165.96
36.5447 | -86.2449 | roof | 3858.28 | 6461.39 | 4156441 | Warehouse | 206562 | 5 | 300 | 0.03 | 0.04 | 121.16 | 1088 | 0 | 22432 | 0 | 266 | 0 | 7634 | 0 | 2106831 | 6019038.7 | 13596828.19

## Results5
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | ground | 3770.62 | 6430.31 | 1324321 | SmallOffice | 0 | 6 | 100 | 0.12 | 0.14 | 41.54 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4385496 | 72837.18 | 7955920.26
45.3795 | -91.4647 | ground | 3770.62 | 6430.31 | 1324321 | SmallOffice | 0 | 6 | 100 | 0.12 | 0.14 | 41.54 | 30 | 0 | 1090 | 0 | 70 | 0 | 4641 | 0 | 1081917 | 235689.18 | 3558359.18

## Results6
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | both | 3678.6 | 3243.95 | 2318899 | FlatLoad_16_5 | 357212 | 8 | 0 | 0.06 | 0.06 | 194.18 | 1141 | 0 | 1181199 | 0 | 0 | 0 | 0 | 0 | 1181199 | 406773.68 | 10423832.05
45.3795 | -91.4647 | both | 3678.6 | 3243.95 | 2318899 | FlatLoad_16_5 | 357212 | 8 | 0 | 0.06 | 0.06 | 194.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2318899 | 0 | 15677583.41

## v2_Results0
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | ground | 3096.62 | 5683.07 | 3376688 | Supermarket | 847212 | 1 | 2000 | 0.02 | 0.13 | 229.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 673762 | 0 | 3872147.97
45.3795 | -91.4647 | ground | 3096.62 | 5683.07 | 3376688 | Supermarket | 847212 | 1 | 2000 | 0.02 | 0.13 | 229.61 | 113 | 0 | 14438 | 0 | 1045 | 0 | 1406578 | 0 | 1421016 | 2672198.41 | 21046366

## v2_Results1
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | ground | 3704.91 | 5602.94 | 1812605 | PrimarySchool | 778927 | 5 | 400 | 0.09 | 0.14 | 174.42 | 1877 | 0 | 2010293 | 0 | 39 | 0 | 16746 | 0 | 1773409 | 1732404.99 | 5889132.2
45.3795 | -91.4647 | ground | 3704.91 | 5602.94 | 1812605 | PrimarySchool | 778927 | 5 | 400 | 0.09 | 0.14 | 174.42 | 701 | 0 | 337079 | 0 | 564 | 0 | 898161 | 0 | 427821 | 2344787.63 | 10908033.19

## v2_Results2
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 24293 | 0 | 0 | 0 | 0 | 0 | 1765886 | 2493.42 | 6475801.22
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118 | 0 | 14161 | 0 | 906 | 0 | 1347474 | 0 | 1361635 | 3539860.77 | 17674592.33

## v2_Results3
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | roof | 2526.02 | 5267.45 | 2002177 | SecondarySchool | 123277 | 7 | 400 | 0.04 | 0.05 | 249.08 | 1230 | 0 | 559196 | 0 | 0 | 0 | 0 | 0 | 2822328 | 1594964.47 | 10491887.89
45.3795 | -91.4647 | roof | 2526.02 | 5267.45 | 2002177 | SecondarySchool | 123277 | 7 | 400 | 0.04 | 0.05 | 249.08 | 1233 | 0 | 762819 | 0 | 434 | 0 | 601609 | 0 | 487954 | 3017312 | 17231687.3

## v2_Results4
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | both | 3906.27 | 5030.53 | 4235446 | FullServiceRest | 871750 | 0 | 50 | 0.01 | 0.06 | 183.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3280674 | 0 | 7819435.15
45.3795 | -91.4647 | both | 3906.27 | 5030.53 | 4235446 | FullServiceRest | 871750 | 0 | 50 | 0.01 | 0.06 | 183.79 | 201 | 0 | 0 | 0 | 215 | 0 | 1025 | 0 | 3318828 | 522278.48 | 19904811.4

## v2_Results5
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
45.3795 | -91.4647 | both | 4019.38 | 2985.3 | 4997114 | StripMall | 270663 | 3 | 3500 | 0.05 | 0.11 | 116.9 | 52 | 0 | 10752 | 0 | 395 | 0 | 525566 | 0 | 536318 | 182652.25 | 2908674.84
45.3795 | -91.4647 | both | 4019.38 | 2985.3 | 4997114 | StripMall | 270663 | 3 | 3500 | 0.05 | 0.11 | 116.9 | 507 | 0 | 58573 | 0 | 1410 | 0 | 2016006 | 0 | 2074579 | 4030551.6 | 20296813.83

## v2_Results6
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
37.6681 | -105.5248 | both | 2706.49 | 6521.87 | 408979 | FlatLoad_8_5 | 942664 | 3 | 3500 | 0.02 | 0.11 | 16.14 | 245 | 0 | 162554 | 0 | 0 | 0 | 0 | 0 | 162554 | 100353 | 807218.81
45.3795 | -91.4647 | ground | 3682.72 | 4085.16 | 1406697 | SmallOffice | 942664 | 10 | 750 | 0.03 | 0.14 | 84.38 | 129 | 0 | 26424 | 0 | 402 | 0 | 553689 | 0 | 580113 | 1239177.83 | 4650995.62

## v2_Results7
input_Latitude | input_Longitude | input_PV_location | input_PV_installed_cost | input_Wind_installed_cost | input_Site_electric_load | input_Site_building_type | input_Site_roofspace | input_Site_landspace | input_Site_NEM_limit | input_Site_net_billing_rate | input_Site_electricity_cost_per_kwh | input_Site_demand_charge_cost_per_kw | output_PV_size | output_PV_energy_lcoe | output_PV_energy_exported | output_PV_energy_curtailed | output_Wind_size | output_Wind_energy_lcoe | output_Wind_energy_exported | output_Wind_energy_curtailed | output_Grid_Electricity_Supplied_kWh_annual | output_npv | output_lcc
37.6681 | -105.5248 | roof | 2600.3 | 7752.11 | 950100 | Supermarket | 84258 | 0 | 50 | 0.11 | 0.15 | 113.64 | 843 | 0 | 888811 | 0 | 12 | 0 | 4921 | 0 | 407768 | 791061.76 | 3317925.85
45.3795 | -91.4647 | ground | 4171.99 | 5418.46 | 3144377 | FullServiceRest | 84258 | 1 | 5000 | 0.08 | 0.14 | 128.51 | 190 | 0 | 31757 | 0 | 939 | 0 | 1156890 | 0 | 1188647 | 1989500.54 | 11834908.4
36.5447 | -86.2449 | roof | 3757.64 | 3317.37 | 2553602 | SmallHotel | 406582 | 1 | 4000 | 0.01 | 0.01 | 32.57 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 2516460 | 2400.48 | 2463547.31
36.5112 | -110.6197 | roof | 3085.45 | 4852.94 | 4016818 | MediumOffice | 154777 | 1 | 5000 | 0.03 | 0.04 | 209.84 | 389 | 0 | 47693 | 0 | 202 | 0 | 20387 | 0 | 2925833 | 1627972.19 | 34408400.84